## DECONTAMINATION (hidden)
SURGICAL INSTRUMENT DECONTAMINATION
DATE | TIME | SURGICAL INSTRUMENT SETS | COMPLETE | INCOMPLETE | LOANER SETS | PROCESSOR | COMMENT/IFU
Ö
Ö
Note on I3: Aka-ebila: Download or scan IFU from manufacturer's website to here. And allow processors to add comments.

## ENDOSCOPE PROCESSING
ENDOSCOPE PROCESSING
DATE | TIME | ENDOSCOPE | SERIAL # | PRE-CLEANED | LEAK TEST | CLEANED | DISINFECTED/STERILIZED | STORAGE | PROCESSOR | COMMENT/IFU
2016-11-22 | 8:48 | Bronchoscope | Z2632 | Ö | Pass | Ö | S | RT | Dan
2016-11-26 |  | Bronchoscope | A2336 | Ö | Failed | Ö | D | Clinic | Steve | Scope pulled out of service
PM Due: 11/22/2016
Search:
Note on F3: Aka-ebila: Pass or Fail
Note on K3: Aka-ebila: Download or scan IFU and allow processors to add comments.